** Town of Wallingford Building Department**

**INSPECTION SCHEDULE**

**-Site Review if necessary/requested.**

**-Footings/Sonotubes/Piers prior to placement of concrete (with rebar installed, if applicable).**

**-Concrete wall forms prior to placement of concrete (with rebar installed, if applicable).**

**-All placement of concrete on any engineered system.**

**-Foundation wall prior to backfill (e.g. water-proofing & footing drainage).**

**-Underground mechanicals (e.g. Mechanical, Electrical & Plumbing).**

**-Under slab inspection (e.g. sump-pits, radon piping, poly-plastic sheathing, thicken portions for load-bearing areas, etc…).**

**-Slab on grade when necessary by Building Official.**

**-Electrical service (if applicable).**

**-Roughs in place (Framing, Mechanical, Electrical & Plumbing). Test on water & waste & all fuel piping.**

**-Rough framing with sheathing/fastening schedule (interior & exterior) along with proper fire and smoke-resistant penetrations.**

**-Insulation.**

**-Any special inspections that may be required by a Building Official and/or Fire Marshal (if applicable).**

**-Final all Trades (Building, Mechanical, Electrical & Plumbing).** *Rev. 4-2025*